## Slide 1
Put it as Harbauer
Remove delete report option
Include Export report option

## Slide 2
Please put the full names of the filters.
Activated Carbon Filter
Arsenic Removal Filter
Iron Removal Filter
Oxidation Chamber
Rename this to “Soak Pit”

## Slide 3
Spelling of “Technician”

## Slide 4
Spelling of “Settings”

## Slide 5
Spelling of “Technician”

## Slide 6
Contamination | Raw Water Quality | Permissible Limits | Desirable Limits | Treated Water Quality
Arsenic (in mg/l) |  | 0.05 | 0.01 | 
Iron (in mg/l) |  | 0.03 | 0.03 | 
Bacteriological |  | Negative | Negative | 
As Per BIS 10500: 2012 (Second Revision)
Note for software developer:
Permissible Limits and Desirable Limits values cannot be edited.
Admin / Technician can only change the values of the Raw Water Quality and the Treated Water Quality